	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Alcatel 
Model: A100L
Pumping speed: 95 CMH
Ultimate Vacuum: 6 x 10-3 m/bar
Inlet flange: KF50
Outlet flange: KF25
Cooling: Water
Voltage: 
Motor Power: 1.6Kw
Overall Dimensions: 600 mm long x 300 mm high x 280 mm wide

Weight: 104 Kg

Condition: 
Accessories Available: 






