	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Busch
Model: 0030A
Pumping speed: 30 CMH
Ultimate Vacuum:  1 x 10-2 m/bar
Inlet flange: KF40
Outlet flange: KF40
Cooling: Air
Voltage: 415V
Motor Power: .6Kw 
Overall Dimensions: 405 mm long x 460 mm high x 366 mm wide

Weight: 38 Kg

Condition: Unused
Accessories Available: 






