	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



(picture shown is of un-serviced unit)
Make: Busch
Model: Panda WV0500B
Displacement: 495 CMH

Inlet connection:  ISO100
Outlet connection:  ISO100
Type of oil: H/C
Minimum size backing pump: 80 CMH

Motor power: 1.5 kW 380 V 3 Phase

Cooling: Air
Weight:  136 Kg

Length: 908 mm

Width: 352 mm

Height: 483 mm







