	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	Edwards Spectron 5000S

	[image: image2.jpg]




	Edwards Spectron 5000S Leak Detector

Spectron 5000 Leak Detector Build
240v 50hz mains supply

E203D diffusion pumped hi vac with liquid nitrogen cold trap, high sensitivity accumulator fitted.

NW40 test port fitted.

E2M1.5 interstage backing pump fitted with EMF10 oil mist filter and visco probe connection port

E2M18 auto gas ballast roughing pump fitted with internal EMF20 oil mist filter and standard roughing

Massive/gross leak option fitted

Vit sealed mass spectrometer head

Internal quartz reference leak fitted

Spectron ion source with dual filaments fitted

9 pin rs232c serial port standard

Pcm display module and cradle supplied

Display software pcm d15481925

Console software cons d15481950








