	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards

Model: E1M175
Displacement: 178CMH

Stages: 1

Type of oil: H/C 

Inlet connection: ISO63 

Outlet connection: ISO40

Motor power: 5.5kW 415V 3Phase

Gas ballast: Yes



Cooling: Air

Weight: 194Kg

Length: 938mm

Width: 404mm

Height: 518mm

Accessories available:

Oil Mist Filters

Inlet Filters







