	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.png]



	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards
Model: E2M18
Displacement:  20CMH

Stages: 2
Type of oil: H/C
Inlet connection: KF25 

Outlet connection: Hose Tail
Motor power: .55kW, 240V, 1Phase

Gas ballast: yes 



Cooling: Air
Weight: 36Kg

Dimensions: 519 mm L x 162 mm W x 255 mm H.
Accessories available:

Oil Mist Filters

Inlet Filters







