	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image2.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image1.jpg]



Make: Edwards
Model: E2M28
Displacement: 32 CMH

Stages: 2
Type of oil: H/C or PFPE 

Inlet connection: KF25 
Outlet connection:  15 mm hose
Motor power: .75 kW 240 V 1 Phase

Gas ballast: Yes



Cooling: Air
Weight: 40 Kg

Length: 597 mm

Width: 180 mm

Height: 227 mm

Accessories available:







