	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards

Model: E2M40
Displacement: 42.5CMH

Stages: 2

Type of oil: H/C or P.F.P.E. 

Inlet connection: ISO40

Outlet connection: 25mm Flange suitable for NW25

Motor power: 1.1kW 220-240V 3Phase

Gas ballast: Yes



Cooling: Air

Weight: 72Kg

Length: 665mm

Width: 240mm

Height: 397mm

Accessories available:

MF100 Outlet Mist Filter

Various selection of Inlet Filters







