	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards

Model: E2M80
Displacement: 80CMH

Stages: 2

Type of oil: H/C or P.F.P.E

Inlet connection: ISO40

Outlet connection: NW25

Motor power: 2.2 kW, 415V, 3Phase

Gas ballast: Yes


Cooling: Air

Weight: 105Kg

Length: 795mm

Width: 266mm

Height: 430mm

Accessories available:

MF100 Outlet Mist Filter

Various Inlet Filters







