	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards 

Model: EH2600

Displacement: 1900CMH

Inlet connection: ISO160

Outlet connection:  ISO100

Type of oil:  H/C

Minimum size backing pump: 175 CMH

Motor power: 7.5 kW 415 V 3 Phase

Cooling: Water

Weight: 308 Kg

Length:  1093 mm

Width: 481 mm

Height: 461 mm

