	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards 

Model: EH4200

Displacement: 4100CMH

Inlet connection:  ISO250
Outlet connection:  ISO100
Type of oil:  H/C
Minimum size backing pump: 275 CMH

Motor power: 7.5 kW 415 V 3 Phase

Cooling:  Water
Weight: 400 Kg

Length: 1273 mm

Width: 481 mm

Height: 461 mm







