	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards

Model: EO12

Displacement: 4200 lit/sec 

Inlet flange: 419 mm diameter flange, 8 bolt holes
Backing connection:  130 mm diameter flange, 6 bolt holes
Cooling:  Water
Fluid capacity: 1250 ml

Type of fluid: 

Recommended minimum backing pump: 65 CMH

Heater power: 3.75 kw, 415 V, 3 Phase

Diameter: 376 mm
Height:  751 mm
Weight: 54 Kg







