	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards
Model: EXT255
Pumping speed: 220 lit/sec

Inlet flange: ISO100
Backing connection: KF25
Minimum size backing pump: 10 CMH

Cooling: Water
Diameter: 152 mm 

Height: 190.8 mm

Weight:     Kg

Controller needed: EXC100 or EXC120
Special features & Accessories:







