	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards
Model: EXT70
Pumping speed: 65 lit/sec

Inlet flange: 

Backing connection: NW16
Minimum size backing pump: 1 CMH

Cooling: Air or Water
Diameter: 94 mm 

Height: 157 mm

Weight: 1.4 Kg

Controller needed: 

Special features & Accessories:







