	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards
Model: GV400
Pumping speed: 380 CMH
Ultimate Vacuum: 0.4 m/bar
Inlet flange: ISO100
Outlet flange: ISO63
Cooling: Water
Voltage: 380V/400V/415V
Motor Power: 50Hz, 3phase
Overall Dimensions: 1492 mm long x 581 mm high x 632 mm wide

Weight: 820 Kg

Accessories Available: 






