	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards  
Model: GV80
Pumping speed: 92 CMH
Ultimate Vacuum: 0.1  m/bar
Inlet flange: ISO40
Outlet flange: KF40
Cooling: Water
Voltage: 415 V
Motor Power: 4Kw
Overall Dimensions: 813 mm long x 275 mm high x 450 mm wide

Weight: 145 Kg

Condition: Fully rebuilt
Accessories Available: Inlet Filters






