	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards
Model: IH600
Pumping speed: 518 CMH
Ultimate Vacuum: 2 x 10-3 m/bar
Inlet flange:  ISO100
Outlet flange: KF40
Cooling: Water
Voltage: 415V, 50Hz
Motor Power:  5.1Kw
Overall Dimensions: 925 mm long x 839 mm high x 390 mm wide

Weight:       Kg

Condition: Run for 428 hours since new 
Accessories Available: 






