	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Edwards
Model: IQDP80/QMB500 Combination
Pumping speed: 390CMH
Ultimate Vacuum: 2 x 10-3
Inlet flange:  ISO100
Outlet flange: KF40
Cooling: Water
Voltage: Variable depending on motor set up
Motor Power: 3.3 Kw
Overall Dimensions: 820 mm long x 723 mm high x 195 mm wide

Weight: 299 Kg

Condition:

Accessories Available: can be frame mounted or directly mounted






