	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards

Model: QDP40
Pumping speed: 52 CMH

Ultimate Vacuum: 5 x 10-2 m/bar
Inlet flange: ISO40
Outlet flange: NW40
Cooling: Water
Voltage: Variable depending on motor set up
Motor Power: 2.2 Kw
Overall Dimensions: 695 mm long x 526 mm high x 390 mm wide

Weight: 172 Kg

Condition: Reconditioned
Accessories Available:







