	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Edwards

Model: QDP80
Pumping speed: 91.5CMH

Ultimate Vacuum: 3 x 10 - 2 m/bar
Inlet flange: ISO63
Outlet flange: NW40
Cooling: Water
Voltage: 415V 50Hz or 208V 60Hz
Motor Power: 4 KW
Overall Dimensions: 830 mm long x 526 mm high x 390 mm wide

Weight: 202Kg

Condition: Reconditioned
Accessories Available:

Full Acoustic Enclosure Case

Controllers







