	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]liu“enhum}t
Vacuum Oven





Make: Gallenkamp Vacuum Oven
Type: OVL-570-010J
Features/Description: Has 2 shelves with a mercury thermometer. Internal dimensions 260mm H x 355mm W x 310mm D, External dimensions 420mm H x 630mm W x 425mm D, 1 phase 240V






