	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


Picture needed 
Make: Leybold
Model: D16B
Displacement: 19 CMH

Stages: 2
Type of oil:  H/C
Inlet connection: KF25  
Outlet connection: KF25
Motor power:  5 watt, 415V, 3 phase
Gas ballast: Yes



Cooling: Air
Weight:  26 Kg

Length:  484 mm

Width:  175 mm

Height: 263 mm

Accessories available:

Oil mist filters and inlet filters







