	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Leybold 

Model: D40BCS
Displacement: 40CMH

Stages: 2

Type of oil: P.F.P.E. or H/C 

Inlet connection: KF40

Outlet connection: KF40

Motor power: 1.5kW 415V 3Phase

Gas ballast: N/A



Cooling: Air

Weight: 68Kg

Length: 468mm

Width: 375mm

Height: 356mm

Accessories available:

Oil Mist Filters

Oil Filters

Inlet Filters







