	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image2.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image1.jpg]



Make: Leybold
Model: DK200
Displacement: 225 CMH

Stages: 2
Type of oil: Mineral 

Inlet connection: ISO63 
Outlet connection: ISO63
Motor power: 5.5 kW, 415V
Gas ballast: Yes



Cooling: Air
Weight: 375Kg

Length:  1190 mm

Width: 340 mm

Height: 740 mm

Accessories available:







