	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Leybold 

Model: DK50 (Rotary Piston)
Displacement: 50CMH

Stages: 2

Type of oil: H/C

Inlet connection: NW50 

Outlet connection: NW50

Motor power:  1.5kW 415V 3Phase

Gas ballast: Yes


Cooling: Air

Weight:  165Kg

Length: 675mm

Width: 340mm

Height: 690mm

Accessories available:







