	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]™

o LEYBOLD-HERAEU:







Make: Leybold

Model: E150 (Rotary Piston)
Displacement: 170 CMH

Stages: 1

Type of oil: H/C 

Inlet connection: ISO63 

Outlet connection: KF50

Motor power: 4kW 415V 3Phase

Gas ballast: Yes



Cooling: Air

Weight: 270Kg

Length: 1000mm

Width: 340mm

Height: 715mm

Accessories available:

Inlet Filter

Oil Mist Filter

Motor Overload







