	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Leybold
Model: Eco Dry L
Pumping speed: 48CMH
Ultimate Vacuum: 3 x 10-2 m/bar
Inlet flange: NW40
Outlet flange: NW25
Cooling: Air
Voltage:  415V
Motor Power: 1500W
Overall Dimensions: 755 mm long x 572 mm high x 220 mm wide

Weight: 95 Kg

Condition: Used but in Good Condition 
Accessories Available: 






