	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]Be
o W)
Sl
3
0o
of
2
og
(2]





Make: Leybold
Model: MAG W 1300C
Pumping speed: 1100 lit/sec for N2
Inlet flange: ISO250  or ISO200
Backing connection: KF40 

Minimum size backing pump: 65 CMH

Cooling: Water
Diameter: 340 mm 

Height: 306 mm

Weight: 32 Kg

With Controller,  need: MAG drive converter & cables
Special features & Accessories: MAG Lev Turbo Corrosive Version
We have several available. The on-board chips which records the hours run vary between 8 and 7,800







