	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]SOURCE TURBO!
CONTROLLER




Make: Leybold
Model: MAGW 1500CT
Pumping speed: 1220 lit/sec

Inlet flange: ISO200
Backing connection: KF40  

Minimum size backing pump:65 CMH

Cooling: Water
Diameter: 335 mm 

Height: 307 mm

Weight: 32 Kg

With Controller,  need: MAG - Drive Converter & Cables 
Special features & Accessories: 
Unit has been tested & run to 4 x 10-7 m/bar. The onboard chip reads total hours run as 37







