	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Leybold
Model: SV40
Displacement: 45
Vacuum: 0.5 m/bar
Pressure: N/A
Inlet connection: BSP 1¼”
Outlet connection: BSP 1¼”
Motor power: 1.1/415V, 3 Phase

Type of oil: H/C
Weight: 40 KG
Length: 655 mm

Width: 300 mm

Height: 270 mm

Accessories available:






