	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


	[image: image2.jpg]





Make: Leybold

Model: Turbovac 50

Pumping speed: 32.8 lit/sec

Inlet flange: ISO63/KF40
Backing connection: KF16

Minimum size backing pump: 2CMH

Cooling: Air

Diameter: 65mm approx

Height: 300mm

Weight: 1.5Kg

Controller needed: NT50model

Special features & Accessories:







