	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 4

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Leybold

Model: WAU2001

Displacement: 2050CMH

Inlet connection:  ISO160
Outlet connection:  ISO160
Type of oil: H/C
Minimum size backing pump: 200 CMH

Motor power: 7.5 kW 380-415 V 3 Phase

Cooling: Air
Weight: 406 Kg

Length: 1275 mm

Width: 635 mm

Height: 530 mm







