	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



Make: Leybold

Model: WS152

Displacement: 153CMH

Inlet connection: ISO63
Outlet connection: ISO63
Type of oil:  H/C
Minimum size backing pump: 40 CMH

Motor power: 1.3 kW 380-415 V 3 Phase

Cooling:  Air
Weight:  107 Kg

Length: 582 mm

Width:  334 mm

Height: 408 mm







