	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9
Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]



(Picture shown is of un-serviced unit)

Make: Leybold
Model: WS251
Displacement: 253 CMH

Inlet connection: ISO63
Outlet connection: ISO63
Type of oil: H/C or PFPE
Minimum size backing pump: 40 CMH

Motor power: 1.1 kW 380 V 3 Phase

Cooling: Air
Weight: 90 Kg

Length: 697 mm

Width: 270 mm

Height: 300 mm







