	ISLAND SCIENTIFIC LTD
	Reply to:

Unit 9

Ventnor Industrial Estate

Station Road

Ventnor

Isle of Wight

PO38 1DX

England

Tel No: (0) 1983 855822

Fax No: (0) 1983 852146

	[image: image1.jpg]Ll
1509001





	Vacuum Equipment, Used and Reconditioned for Technology, Industry, Research and Education
	

	E-Mail Address: sales@island-scientific.co.uk
Web Site: http://www.island-scientific.co.uk


[image: image2.jpg]TEYVEFRERLELE




Make: Stokes

Model: 412-10
Displacement: 510 CMH

Stages: 1

Type of oil: H/C 

Inlet connection: 6” Flange 

Outlet connection:  BSP Socket

Motor power: 11 kW 415 V 3 Phase

Gas ballast: Yes



Cooling:  Water

Weight: 794 Kg

Length: 1030 mm

Width: 698 mm

Height: 1314 mm

Accessories available:

